SUPER-SPAN™ 6x2 CORRUGATED GALVANIZED

STEEL STRUCTURAL PLATE SPECIFICATIONS

1.0   GENERAL

1.1	This specification covers the design, manufacturing and installation of the SUPER-SPAN galvanized 6x2 corrugated steel structural plate structure detailed in the plans.

  - Qualified Suppliers

- Each bidder is required to identify their intended bridge supplier as part of the bid submittal.  Qualified suppliers must have at least fifteen (15) years experience fabricating equal or larger type structures.

- Pre-Approved Manufacturer:

Contech Engineered Solutions LLC

700 Tech Drive

Winchester, KY 40391

- Suppliers other than those listed above may be used provided the owner’s

agent evaluates the proposed supplier and approves the supplier 14 business

days prior to bid.

- The contractor must provide the following documentation, for any proposed

Supplier who is not pre-approved, at least 14 business days prior to bid:

- Product Literature

- All documentation to ensure substitution will be in compliance with these specifications.

- Project specific representative drawings for bridge projects listed above with material, complete design calculations and design specification references.

- Proposed suppliers must have at least fifteen (15) years experience designing these types of structures and a minimum of fifteen (15) successful projects, of similar shape and construction as specifically written in these specifications and drawings, each of which has been in service at least three (3) years.  List the location, shape, size, owner, and a contact for reference for each project.

- The owner’s agent will evaluate and verify the accuracy of the submittal prior to bid.  If the owner’s agent determines that the qualifying criteria have not been met, the contractor’s proposed supplier shall be rejected.  This ruling shall be final.

1.3	The required structure will be designated by standard applicable catalog structure number, span, rise and plate Pi.

1.4	Pi shall equal 3.2 inches.

1.5	Cover over the structure shall be determined from the crown of the structure to the bottom of flexible pavement or top of rigid pavement.

2.0   DIMENSIONS

2.1		Span:  Maximum span shall be ____ ft - ____ in

Bottom span shall be ____ ft - ____ in

Span shall be determined at the inside corrugations

  - Rise:	Total rise shall be ____ ft - ____ in

Top rise shall be ____ ft - ____ in (from spring line to crown)

Rise shall be determined at the inside corrugations

2.3		Gage:	Plate gage shall be ____ gage (_____ in) for all plates or as described ____________________________________________________________

2.4		Corrugation:	The SUPER-SPAN galvanized structural plate shall have 6 inch x 2 inch annular corrugations. The corrugation profile shall have AASHTO recognition for a minimum of 15 years.

3.0   DESIGN [specifier: choose one]

3.1	Design Criteria:  The design of the structure shall be in accordance with:

- AASHTO Standard Specification For Highway Bridges  17th Edition with interim revisions Section 12 Working Stress Design.

- AASHTO LRFD Bridge Design Specifications  2012 Section 12 Load Resistance Factor Design.

- AISI Handbook of Steel Drainage & Highway Construction Products  1994 Edition Working Stress Design.

- AREMA Manual for Railway Engineering  2012 Edition Working Stress Design

3.2	Design Loads: Design loads shall be specified by the Engineer. Construction loads and any temporary loads exceeding the service live load are not allowed on the structure without approval from the Engineer.

(a)	The Engineer shall specify materials and extents of the foundations or bedding and backfill material within the critical backfill zone with consideration of structure shape and in-situ conditions.

(b)	The Engineer shall consider the structural capacity of trench walls or adjacent embankments to provide balanced soil loads on the structure.

(c)	The Engineer shall consider hydraulic forces on the ends of the structure. End treatment such as headwalls, slope collars, slope paving or cut-off walls shall be considered to protect the backfill and provide stability and protection to the ends of the structure as well as to prevent erosion or washout.

(d)	The Engineer shall consider scour effects on the structure foundation. The use of scour counter-measures shall be considered for strip footings. The Engineer shall consider potential washout/undermining effects on the invert. The use of a toewall at the ends of a structure or a paved invert shall be considered.

3.3	Shop Drawings:  Shop drawings and design calculations shall be prepared and submitted to the owner for approval.  The contractor shall be responsible for verification of all field dimensions prior to fabrication. Shop drawings shall include location and dimensions for longitudinal thrust beams and transverse ring beams (if required). The thrust and ring beams shall be fully detailed in the plans and specifications.

4.0   MATERIALS

4.1	Structural Plate: SUPER-SPAN galvanized steel structural plate shall consist of plate and appurtenant items as shown on the plans and shall conform to the requirements of AASHTO M167 or ASTM A761 and Table 1

Table 1 – SUPER-SPAN - 6x2 Corrugated Structural Plate Section Properties

| Gage | Nominal Thickness (in) | Uncoated Thickness (in) | Moment of Inertia (in4/in) | Section Modulus (in3/in) | Radius of Gyration (in) | Area of Section (in2/ft) |
| --- | --- | --- | --- | --- | --- | --- |
| 12 | 0.111 | 0.1046 | 0.0604 | 0.0574 | 0.682 | 1.556 |
| 10 | 0.138 | 0.1345 | 0.0782 | 0.0733 | 0.684 | 2.003 |
| 8 | 0.168 | 0.1644 | 0.0962 | 0.0888 | 0.686 | 2.449 |
| 7 | 0.188 | 0.1838 | 0.1080 | 0.0989 | 0.688 | 2.739 |
| 5 | 0.218 | 0.2145 | 0.1269 | 0.1147 | 0.690 | 3.199 |
| 3 | 0.249 | 0.2451 | 0.1462 | 0.1302 | 0.692 | 3.658 |
| 1 | 0.280 | 0.2758 | 0.1658 | 0.1458 | 0.695 | 4.119 |
| 5/16 | 0.318 | 0.3125 | 0.1900 | 0.1640 | 0.698 | 4.671 |
| 3/8 | 0.380 | 0.3750 | 0.2320 | 0.1950 | 0.704 | 5.613 |

4.2	Hot Dip Galvanizing: Galvanizing shall conform to AASHTO M111 or ASTM A153

4.3	Fasteners: Nuts and bolts shall conform to AASHTO M232 and M291 or ASTM A449, Type 1 (bolts) and A563, Grade C (nuts).

4.4	Bituminous (Asphalt) Coating: If specified, bituminous coating shall conform to AASHTO M190.

5.0   FABRICATION AND QUALITY CONTROL

5.1	All manufacturing processes including corrugating, punching, curving, special fabrication and galvanizing shall be performed in the United States of America at a common location.

5.2	All raw materials shall be domestic and certification of origin in the United States of America.

5.3	All raw materials shall be traceable and certified by the mill for material composition and physical properties.

6.0   INSTALLATION

6.1	Assembly: The structure shall be assembled in accordance with the shop drawings and plate layout provided by the manufacturer. Bolts shall be tightened to an applied torque between 100 and 300 ft-lbs.

6.2	Installation: The structure shall be installed in accordance with AASHTO Standard Specifications for Highway Bridges Section 26 or ASTM A807, the plans and specifications, and the manufacturer’s recommendations.

(a)	The Contractor shall provide footings per the project plans and specifications.

(b)	The Contractor shall provide proper bedding and backfill to avoid distortion that may create undesirable stresses in the structure and/or settlement of the roadway. The bedding shall be free of rock formations, protrusions, frozen material or organic material.

6.3	Backfill: The structure shall be backfilled using clean, well-graded granular materials that meet the requirements of AASHTO M145 soil classifications A-1-a, A-1-b, A-2-4 or A-2-5 per the requirements of Table 2. Plastic or cohesive soils shall not be used.

Table 2 – AASHTO M-145 Soil Classification

| Group Classification | A-1-a | A-1-b | A-2-4 | A-2-5 |
| --- | --- | --- | --- | --- |
| Sieve Analysis Percent Passing |  |  |  |  |
| No. 10 (2.000 mm) | 50 max. | --- | --- | --- |
| No. 40 (0.425 mm) | 30 max. | 50 max. | --- | --- |
| No. 100 (0.150 mm) | --- | --- | 50 max. | 50 max. |
| No. 200 (0.075 mm) | 15 max. | 25 max. | 20 max. | 20 max. |
| Atterberg Limits for Fraction Passing No. 40 (0.425 mm) |  |  |  |  |
| Liquid Limit | --- | --- | 40 max. | 41 min. |
| Plasticity Index | 6 max | 6 max. | 10 max. | 10 max. |
| Usual Materials | Stone fragments, gravel and sand |  | Silty or clayey gravel or sand |  |

NOTE: Atterberg limits are modified to provide materials that are primarily granular

(a)	Backfill materials shall be placed in symmetrical lifts on each side of the structure. The differential between the lifts on either side shall not exceed 24 inches. Each layer of soil shall be placed in 6 to 8 inch loose lifts and compacted to a minimum of 90% density per AASHTO T180 or ASTM D1557 (Modified Proctor).

(b)	Backfill soils shall be free of rocks exceeding 3 inches, frozen lumps, ice, organic matter and foreign materials that could cause hard spots or decompose to create voids.

(c)	The presence of a high percentage of silt or fine sand in the native soils suggests the need for well graded granular material in the critical backfill zone or the use of non-woven geotextile to prevent soil migration.

(d) The Contractor shall submit soil classification and sieve analysis of the backfill material per AASHTO T88 or T11 and T27.

(e)	During backfilling operations, only small tracked construction equipment (such as a D-4 dozer or smaller) shall be near the structure as fill progresses above the crown and to the minimum height of cover. After adequate cover and compaction is achieved, live loads may increase at the direction of the Engineer.

(f) The Contractor shall select equipment and methods to provide the specified backfill density without excessive movement or deformation of the structure.

(g)	The Manufacturer shall provide on-site shape control monitoring of the structure during all backfilling operations. The shape control technician shall confirm the structure shape before backfilling, then monitor the shape and verify compaction tests performed by the Geotechnical Engineer until the backfill reaches the extents of the critical backfill zone. The shape control technician shall have stop-work authority and shall immediately report any discrepancies to the Engineer.

6.4	Critical Backfill Zone: The Engineer shall determine the extents of the critical backfill zone and provide a detail on the plans. The minimum extent of the critical backfill zone shall be 6 feet on either side of the maximum span and from the bottom of footing to the top of the minimum cover height.

6.5	Shape Control: The Manufacturer shall provide a qualified, third party Shape Control Inspector to monitor the shape of the structure prior to and during backfilling operations. The Shape Control Technician shall:

(a)	take initial measurements of the assembled structure

(b)	observe all backfill materials and placement, record the compaction density of the backfill as lifts are placed and report any results that do not meet the requirements of the plans and specifications

(c)	monitor the placement of the structural backfill to the specified minimum height of cover over the structure

(d)	have necessary stop work authority to correct any observed deficiencies and report immediately to the Manufacturer’s designated local representative.

6.6	Preconstruction Conference: Prior to construction, a meeting shall be held to review the construction procedures for the SUPER-SPAN structure. The following requirements must be met:

- a representative of the Owner, Engineer of Record, Prime Contractor and any involved Sub-Contractors shall be present

(b)	at least one of the Manufacturer’s representative(s) shall be a Registered Professional Engineer with direct involvement in the design and preparation of the shop drawings.

(c)	a meeting announcement, agenda, attendance list and minutes will be prepared by the Manufacturer’s representative.

(d)	the agenda items shall include: site and foundation preparation, assembly of the structure, methods and responsibility for shape control inspection, backfill material selection, testing and placement and compaction methods and testing and any other pertinent special requirements.

(e)	the Manufacturer shall prepare a project specific preconstruction book which covers structure information, site preparation, footings, assembly, initial backfilling, thrust beams, final backfilling, shape control and any pertinent project-specific special provisions.

Revised April 2013